## Slide 1: Intelligent and Interoperable IoT Devices for Efficient Building Energy Management
Background/Motivation:
Heating, Ventilation, and Air Conditioning (HVAC) systems consume a significant portion of energy in buildings, operating on a predefined schedule, which is inefficient.
Lots of vendors exist in the sector with various protocols, which are fragmented and not interoperable.
What can be seen:
We aim to improve HVAC with intelligent and interoperable IoT devices that can predict room occupancy, enabled through the integration of Tiny Machine Learning, Complex Event Processing, sayWoT, and W3C Web of Things, which is built on Siemens PlatformV.
Mahda Noura, Haoyu Ren, Kirill Dorofeev, Martin Östreicher, Nilay Tüfek Özkaya, Darko Anicic
MicroCEP Engine
PlatformV Toolchain
TinyML Engine
TargetV Device
Environmental Sensors
(CO2, Temperature, Humidity)
Presence-aware HVAC System
Web of Things
Servient
Virtual Object
Manager